ACME WATER

PRE - HOOKUP CHECK LIST

- ATTEND A BOARD MEETING

- FILL OUT APPLICATION

- GET APPROVAL FROM WATER BOARD

- MEET ACME WATERS STANDARDS

  - FOR PIPE LINE EXTENSIONS

  - HAVE THE RIGHT OF WAYS FOR LINES

  - THE RIGHT SIZE OF PIPE

  - HAVE NO OTHER UTILITIES ON TOP OF OR WITH IN TEN FEET OF ETHER SIDE OF THE WATER LINE AND METER

  - HAVE WATER SHUT OFF VALVE OTHER THAN METER

- WATER LINE MUST BE INSTALLED BY ACME WATER COMPANY OR AN ACME WATER APPROVED CONTRACTOR

- MINIMUM AGREAGE OF .5 ACRES

- HAVE WATER LINE INSPECTED BY ACME WATER

- PAY FEE’S BEFORE METER IS SET

- NOTIFY ACME ATLEAST 30 DAYS PRIOR TO NEEDING WATER/METER HOOKED UP.  HOME OWNER OR BUILDER MUST BE PRESENT WHEN WE TURN ON WATER FOR THE FIRST TIME.

- METER WILL BE INSTALLED FRONT AND CENTER ON THE FRONTAGE OF YOUR PROPERTY IN THE CITY/COUNTY RIGHT AWAY.

- METERS ARE NOT TO BE TAMPERED WITH ONLY ACME WATER COMPANY OR ACME APPROVED CONTRACTOR IS ALLOWED ACCESS TO METER BARREL.

- HAVE AN APPROVED BUILDING LOT. PROOF OF BUILDING PERMIT FROM BEAR RIVER CITY OR BOX ELDER COUNTY.

EMAIL TO acmewatercomp@gmail.com

- SPRINKLER SYSTEM MUST HAVE A TESTABLE & SERVICEABLE IN-LINE BACKFLOW PREVENTOR. PREFERED TYPE IS REDUCED PRESSURE VALVE 12” ABOVE GROUND, OR PRESSURE VACUUM BREAKER 12’ ABOVE HIGHEST SPRINKLER.  MUST HAVE A SERIAL # AND BE TESTED YEARLY

- BILLING START’S WHEN YOU PAY FOR WATER & SHARES

- FOR A FEE OF $150.00 ACME WATER WILL HOOK METER UP TO HOUSE LINE (OPTIONAL)

ANY QUESTIONS CALL ACME WATER 435-279-1044